Leaf wetness distributions in a heterogeneous agricultural landscape

, and John H. Prueger4

1USDA-ARS Hydrology and Remote Sensing Laboratory, 20705 

2Savannah River National Laboratory, Aiken, SC, 29808

3Iowa State University, Ames, IA, 50011

4 USDA-ARS National Soil Tilth Lab, Ames, IA 50011

Abstract

Spatial variability of leaf wetness quantity is a rising concern for remote sensing and hydrology.  The presence of liquid water on the plant surface, if not accounted for, can impact the ability of new and future remote sensing technologies to observe the land surface including estimating surface soil moisture and vegetation parameters.  Furthermore, the potential recharge of surface soil moisture from leaf wetness is a small but potentially critical element of the water balance, especially in dry environments.  Measuring the variability and spatial extent of leaf wetness events will provide useful information for water and energy balance modeling and remote sensing.  As part of the Soil Moisture Experiments 2005 (SMEX05), the temporal and spatial characterization of leaf wetness over a heterogeneous agricultural domain was investigated using sensors and physical measurements during June of 2005 in and around the Walnut Creek Watershed near Ames, Iowa.  Comparison of the results of the in situ leaf wetness sensor measurements and the physical sampling revealed a moderate correlation.  Using these results, column density estimates of leaf wetness were calculated hourly for each day of record.  These data were combined with a vegetation leaf area index map to produce a spatial leaf wetness product hourly during the experiment with an error of approximately 0.05 kg/m2/LAI.  Future efforts in spatial hydrologic modeling will now be able to incorporate quantitatively leaf wetness with this strategy and a calibrated leaf wetness network.

Keywords:  Leaf Wetness, Dew, Electronic Sensors, Field Experimentation

Introduction

The study of dew has focused primarily on its presence and duration as an indicator of plant pathogen activity  because many plant pathogens require moisture for germination.  As a result, most modeling activities and sensor technologies have focused on these same factors; presence and duration .   present a good overview of the development of dew monitoring that shows that very little work had been performed regarding the quantity of dew, only duration.  

As remote sensing of soil moisture has evolved from concept to satellites, research has begun to consider the full range of factors that can affect the observation, which includes leaf wetness resulting from dew-fall, distillation, and guttation . .  Research has shown mixed results regarding the effect of dew on microwave signals.  Initial studies  reviewed previous research utilizing passive microwave remote sensing and concluded that there would be little to no effect at the L-band.  Conversely, a study by  determined that L-band radiometers are reactive to the presence of leaf wetness.   determined that leaf wetness affected the relationship between backscatter coefficient of active microwave remote sensing of the land surface and crop characteristics such as yield and biomass.  Although there remains a need for further research on the influence of leaf wetness on soil moisture remote sensing with L-band radiometry, it is certain that at low frequencies it will be a minor effect.  

As mentioned earlier, previous studies of dew and leaf wetness have focused on the prediction of leaf wetness for the purposes of tracking plant disease propagation .   developed a model, which can simulate dew formation and duration throughout the leaf canopy.  This study determined that near surface soil moisture plays an integral part in the duration of dew presence in the entire canopy.  

Characterizing dew temporally and spatially will be valuable in further research and potentially in operational techniques, not only for remote sensing but for traditional applications and modeling. The necessary input for any study of the effect of leaf wetness on remote sensing requires an estimation of the leaf wetness within the vegetation canopy on a scale at which L-band radiometry is available.  Current aircraft based microwave radiometers, mostly utilized in research, can retrieve soil moisture on the order of >100 m, while truck based radiometers can monitor as small as 10 m, depending on deployment.  Current satellite remote sensing is a much larger scale (~50 km) but future technologies could increase the resolution to 10 km.  Even at 10 km, these scales are still too large to be considered hydrologically homogeneous, due to the heterogeneity of the land cover and soil.  From a practical perspective, in an agricultural domain the largest scale that can be considered homogenous might be a farm field on the order of 800 m .  Therefore, a method of estimating field scale leaf wetness is necessary for characterizing units at this scale.  From this scale, modeling and aggregation techniques must be used to scale up to the remote sensing footprint .  

The goal of this study was to provide quantitative leaf wetness information as part of a soil moisture remote sensing experiment, SMEX05.  This was accomplished by combining continuous observations by in situ leaf wetness sensors with limited physical sampling of leaf wetness from early morning to a dry condition.  Extrapolation of this study to include intercepted precipitation and/or irrigation is not recommended because of the different methods of liquid deposition.  Precipitation (or sprayed irrigation does not passively form on the surface of the plant, but rather actively impacts the surfaces and accumulates in a different fashion on both the leaf surfaces and on the stems and collars. Only leaf wetness as a result of dewfall will be studied here.  The desired end result is a temporal mapping of leaf wetness in the plant canopy on a large scale with minimum calibration and physical data collection.  

Study Region

To study the development and magnitude of dew in an agricultural region, an experiment was organized as part of the Soil Moisture Experiment in 2005 (SMEX05) near Ames, Iowa in and around the Walnut Creek watershed (41.9821° N, 93.6924° W). The area is dominated by agriculture with 34% of the land planted in corn and 30% planted in soybean .  There is little topography and the climate is humid, receiving 835 mm of precipitation per year .  This experiment was designed primarily to validate the ability of the WindSat satellite passive microwave instrument  to retrieve surface soil moisture.  

As part of this validation experiment, an aircraft-based WindSat simulator, the Airborne-Polarimetric Microwave Imaging Radiometer (APMIR), was flown in coordination with ground-based soil moisture sampling activities to provide scaling from the small field scale, to the regional satellite scale .  The local overpass time of WindSat in Ames, Iowa was approximately 7:30am; therefore, aircraft and ground sampling was coordinated to occur between 6:30-9:30am. Assessing the quantity, spatial variability, and duration of leaf wetness was accomplished by a sampling team, which maintained leaf wetness sensors and collected gravimetric samples of leaf wetness across the region each day.

Sampling protocol

For each sampling field, three locations were selected for replication.  A total of five fields were included in this study, WC10 (Walnut Creek, Field #10, Corn), WC36 (Corn), WC52 (Corn), WC11 (Soy), and WC15 (Soy).  Figure 1 shows the locations of these sampling sites within the study region, as well as the land cover for the SMEX05 study period. One sampling location was always located coincident with a leaf wetness sensor installation, which varied from 1 to 4 sensors.  These sensors were Campbell Scientific 237-L leaf wetness sensors installed at 45-degree angles.  The installation heights were adjusted throughout the study period, with two different configurations: at 1/3 and 2/3 of the canopy height for the two sensor configuration or at ½ canopy height in the one sensor configuration.  Throughout the experiment, the height of the sensors was raised periodically to match the crop growth.  These sensors consist of an interlacing circuit board, which is open (Ω is infinitely large).  As moisture beads form on the surface of the circuit board, the resistance decreases (~1 ohm for a very heavy leaf wetness event).  These sensors are intended to report a percent of time the sensor surface is wet (percent of time Ω less than some set value). In this study it was hypothesized that they could also be used to estimate leaf wetness quantitatively if calibrated for a specific installation.  For this experiment, the sensors were treated with proprietary paint mix with specific electrical properties in accordance with previous studies .

In addition to the continuous electronic measurements, physical measurements were made periodically to provide a mass per area estimate of leaf wetness, the primary variable of interest to remote sensing.  Corn and soy leaves were swabbed using pre-weighed paper towels until dry, taking care that as much moisture as possible on the plant was captured.  These paper towels were then reweighed and the difference is the captured leaf wetness.  For soybeans, both the top and bottom of the leaf was sampled.  For corn leaves, the top, bottom, and collar of the leaf were sampled.  The leaves were collected and single-sided leaf areas were measured using standard imaging software.  In addition, the leaf area index (LAI) was measured using a Li-Cor LAI2000
 at each sampling location.  Several of these sampling locations coincided with stations, which collected data for modeling the atmosphere-land surface flux.  These data were used to model the onset, magnitude, and duration of leaf wetness for a select few sites in Kabela et al.(submitted).

Analysis

It is would be prohibitively complex and expensive to deploy a statistically significant number of sensors to accurately measure leaf wetness on a field or watershed scale.  Therefore, using a vegetation parameter that is easily measured at large scales would be the most efficient method for extrapolating leaf wetness estimation to the large scale.  Leaf Area Index (LAI) is the best-suited index, because it is a parameterization of the leaf surface area, on which the leaf wetness forms.  For SMEX05,  conducted a field study in the Walnut Creek watershed, and generated two maps (different days) of LAI based on Landsat NDVI data.  Linearly interpolating between these two dates provides a daily estimate of LAI with a 30 m resolution.  Figure 2 contains two plots of LAI measured at the surface with a LI-COR 2000 and the daily satellite-derived LAI estimates.  There were moderate to strong correlations (R2 > 0.50) for corn (a) and soybeans (b).  Figure 2 does indicate linear relationships between the satellite measurements and the ground based data, so a simple linear conversion should be applicable.  Figure 2 would suggest that there is a difference in calibration between the ground-based and satellite-derived LAI.  For this study, the satellite-derived LAI will be used for further analysis.

For fourteen days, physical samples of leaf wetness were collected for a mixture of corn and soybean fields.  Corn fields were often sampled twice in the same day because the leaf wetness duration was longer and there was still measurable wetness after the soybean fields had dried out.  This is primarily due to the low profile of the soybean plant in relation to the row spacing.  Much of the soybean plant is exposed to sunlight, while the bottom leaves of a mature corn plant are often in shadow for the entire day.  Total leaf wetness (TLW) in units of kg per square meter of ground surface were calculated for each measurement and then divided by the satellite based Leaf Area Index (TLW/LAI) for the nearest 30 m pixel.  This value was then compared to the local leaf wetness sensor measurement (LWS) at the nearest time record.  Figure 3 shows the relationship between TLW/LAI and LWS for corn (a) and soybean (b).    The relationship for corn was obvious with clear linear characteristics (R2~0.59), whereas the soy comparison was less well behaved (R2~0.38).  It should be noted that most of the error in the soybean relationship comes from one field (WC15).  In this field, the installation may have failed to properly monitor the leaf canopy and its micrometeorology.  The soybean plants were often only 20 cm high with 30 cm spacing.  The corn canopy was more ‘closed’ allowing for a more homogeneous subcanopy environment in which to install the leaf wetness sensors, resulting in a less variable relationship.  The regression equation for corn is,


[image: image1.wmf]3325

.

0

5994

.

0

-

´

=

R

LAI

TLW








(1)

where R is the resistance of the nearest leaf wetness sensor in ohms. For soybeans the equation is, 


[image: image2.wmf]5209

.

0

4535

.

1

-

´

=

R

LAI

TLW

.






(2)

Figure 4 shows the regression equations derived from these comparisons, which can be used to convert leaf wetness sensor data into volumetric leaf wetness estimates.  The regression equation for corn yields a root mean square error (RMSE) of 0.047 TLW/LAI (kg/m2/LAI), which for a high stand of corn (LAI~5) would translate to a RMSE of approximately 0.2 kg/m2 of total leaf wetness. For soybeans, the regression yields a RMSE of 0.054 TLW/LAI (kg/m2/LAI), which is significantly affected by the inclusion of WC15 in the calculations.  Soybeans during this time period averaged an LAI of approximately 1.0, therefore an overall RMSE of 0.05 kg/m2.  Soybean total leaf wetness values peak at approximately 0.3 kg/m2, while corn total leaf wetness values were peaking almost at 1.0 kg/m2.  As could be concluded from the regression relationships, corn can be more accurately estimated considering the larger values and better correlation between sensor and measured values. 

Extrapolating these findings relies on the assumption that leaf wetness occurs on a large scale and is homogeneous for the scale of consideration within similar crop canopies.  To investigate this assumption, further data is necessary than the sampled fields.  A total of 42 automated leaf wetness sensors were deployed in 18 different fields allowing for some replication in intensively observed fields.  The average correlation coefficients for the leaf wetness sensor data records were 0.483 for corn and 0.516 for soy.  This supports the assumption that there is moderate homogeneity for leaf wetness in the domain.  Then, leaf wetness amount can be generated for each time period of interest using the average leaf wetness sensor resistance for corn and soy and the calibration equations (1) and (2) for leaf wetness quantity.  Figure 5 shows an example of four hourly maps for June 30th, at 6am, 7am, 8am, and 10am.  Since each sensor experiences a unique microenvironment, best results will occur when sensor-specific and site-specific relationships between wetness sensor resistance and leaf wetness amount are used.  

Conclusion

In this study, we demonstrated that it is possible to not only estimate leaf wetness amount, but also its spatial distribution in an agricultural setting using leaf wetness sensors and a spatial information on the vegetation leaf area index.  At this stage, it appears that physical sampling of leaf wetness is necessary in order to calibrate each sensor installation and these sensors should be maintained at a proper height within the uniform crop canopy so that its’ relationship is not unduly affected by crop growth.  Obvious recalibration is necessary when fundamental changes in crop phenology occur.  In this experiment, corn was in its vegetative stage (pre-tassel) and soybeans were also in the vegetative stage (pre-flower); therefore, the only changes were additional leaves and height. 

Physical location with the leaf canopy can also affect performance of a sensor and several were excluded from this experiment because of aberrant behavior in relation to the other sensors and observations made by individuals in those fields.   Once calibration equations are generated, the sensor readings can be used to extrapolate leaf wetness amount to the surrounding area, in this study approximately 30km.  Hourly maps were developed using this sensor history for those days with significant leaf wetness events.  These maps are capable of contributing to the modeling of the land surface and the complex water and energy budgets that have no current resource for quantitative leaf wetness monitoring outside of micro lysimetry.  This study indicates that with careful installation, calibration, and maintenance, leaf wetness quantity imagery can be developed for remote sensing research using generally available vegetation information, namely LAI.

Acknowledgements

The authors would like to thank the many scientists and students who participated in the development and execution of the SMEX05 Experiment. We would also like to thank Tim Hart, without whose help the experiment would not have been possible. SMEX05 ground sampling was supported by the NASA Terrestrial Hydrology Program and NASA Aqua AMSR-E Validation Program.

References List

[image: image3.png]INS

. Woodlands/Pastures
. Urban Areas

ﬁl Small Gra

0
Q
O
O
2
®
'
-
O
L
0p)





Figure 1: Land cover map of the SMEX05 Study Region with the five study fields.

[image: image4.emf]0

0.5

1

1.5

2

2.5

3

3.5

4

0 1 2 3 4

Ground-based LAI

Satellite-derived LAI

Soy

Corn

Series

3


Figure 2: Ground-based LAI measurements compared to satellite-derived LAI for the nearest 30 m pixel.

[image: image5.emf]Corn

0.001

0.01

0.1

1

10 100 1000 10000 100000

Resistance in ohms

Total Leaf Wetness /LAI

WC10

WC36

WC52


[image: image6.emf]Soy

0.001

0.01

0.1

1

1 10 100 1000 10000 100000

Resistance

Total Leaf Wetness/LAI

WC11

WC15


Figure 3: Leaf wetness sensor resistance versus Total Leaf Wetness/LAI for five study fields within the SMEX05 Domain.

[image: image7.emf]SOY

TLW/LAI = 1.4535*R

-0.5209

R

2

 = 0.3823

CORN

TLW/LAI = 0.5994*R

-0.3325

R

2

 = 0.5958

0.001

0.01

0.1

1

10 100 1000 10000 100000 1000000

Resistance in ohms

Total Leaf Wetness / LAI

Soy TLW/LAI

Corn TLW/LAI

Power (Soy TLW/LAI)

Power (Corn TLW/LAI)


Figure 4: Regression models for predicting Total Leaf Wetness/LAI for Corn and Soy fields.

[image: image8.png]500 1000 1500 2000 500 1000 1500 2000
June 30 6:00am June 30 7:00am

500 1000 1500 2000 “E0 1000 1500 2000
June 30 8:00am June 30 10:00am
0 0.1 02 03 04 05

ET T~ s




Figure 5: Four hours of leaf wetness imagery for June 30th, 2005, using one sensor data record for a soy and corn.  

�	 Mention of this product does not constitute an endorsement.







_149047368.unknown

_149482000.unknown

